Checklist – CAC038M
Subsoil Drains and Strip Filter Drains (MRTS03)

| Contractor |  | Date |  | Review No. |  |
| --- | --- | --- | --- | --- | --- |
| Contract No. |  | Project No. |  | Project Name |  |

| Reference | Requirements | Addressed | Comments/Observations |
| --- | --- | --- | --- |
| Cl 27.2 & 27.3 | Materials: Is the strip filter drain a suitable proprietary product, comprising a minimum plastic core thickness of 40 mm and has a minimum crush strength of 200 kPa? - Storage of materials: Away from direct sunlight and heat sources? Away from direct contact with the ground? To prevent damage and soiling? |  |  |
| Cl 27.4 | Construction: Have the bottom of trenches been trimmed to provide: TYPE B – not < 0.5% fall to outlets? TYPE D – not < 1% fall to outlets? Are cleanouts located at the head of subsoil drains and at spacings not exceeding: TYPE B – 60 m? TYPE D – 50 m? |  |  |
| Cl 27.4 | Have subsoil drains been installed in accordance with the drawings? |  |  |
| Cl 27.4 | Have concrete outlets and surrounds, galvanised chicken wire cones, pest-proof flaps, cast iron or PVC caps, grouted rock pitching and marker posts been installed in accordance with SD1116? |  |  |
| Cl 27.4 | Has the drain been flushed out and has flushing continued until water runs clean and consistently? |  |  |

Additional issues for consideration

| 1 | Consider the use of compressed air to test continuity of subsoil drains |
| --- | --- |
| 2 | Consider use of single-sized aggregate for backfill material Type B 20 mm; Type D 5-7 mm |

Delete below section if not required

| Audited by: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date |  |