Checklist – CAC040M
Retaining Structures (MRTS03)

| Contractor |  | Date |  | Review No. |  |
| --- | --- | --- | --- | --- | --- |
| Contract No. |  | Project No. |  | Project Name |  |

| Reference | Requirements | Addressed | Comments/Observations |
| --- | --- | --- | --- |
| Reinforced Concrete Retaining Wall |  |  |  |
| Cl 50.2 | Materials Do Materials comply with Specifications? Are materials being supplied from an approved supplier? |  |  |
| Cl 50.3 | Where necessary: Have excavations been carried out to permit construction? In accordance with MRTS04 Clause 13.3.1 (Bottom of Excavation)? |  |  |
| Cl 50.3 | Has it been ensured that: Retaining walls have been constructed in accordance with the drawings |  |  |
| Cl 50.4 | Tolerances Does finished surface meet Specification requirements |  |  |
| Concrete Masonry Retaining Walls |  |  |  |
| Cl 51.2 | Materials Do Materials meet Specifications requirements |  |  |
| Cl 51.3 | Have concrete masonry retaining walls been constructed in accordance with Drawings? |  |  |
| Cl 51.3 | Has the insitu material in the excavation been compacted in accordance with MRTS04? |  |  |
| Cl 51.4 | Tolerances Does finished surface meet Specification requirements |  |  |
| Crib Walls |  |  |  |
| Cl 52.2 | Is backfilling material Free draining granular material conforming MRTS04 Clause 19.2.4 (General Earthworks)? |  |  |
| Cl 52.3 | Are crib walls constructed in the locations and in accordance with the details shown on the Drawings? |  |  |
| Cl 52.3 | Has the insitu material in the excavation been compacted in accordance with MRTS04? |  |  |
| Cl 52.3 | Has it been ensured that: Crib walls are installed to manufacturer's recommendations and in accordance with the Drawings? |  |  |
| Cl 52.3 | Following installation has: Each course of the wall been backfilled in and behind the crib units as specified by manufacturer and compacted using appropriate mechanical tampers? |  |  |
| Cl 52.4 | Tolerances Does finished structure meet Specification requirements |  |  |

Delete below section if not required

| Audited by: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date |  |