Checklist – CAC059M
Inspection – Precast Concrete Culverts – MRTS24

| Contractor |  | Date |  | Review No. |  |
| --- | --- | --- | --- | --- | --- |
| Contract No. |  | Project No. |  | Project Name |  |

| Unit Numbers |  | Unit Types |  | Date Manufactured |  |
| --- | --- | --- | --- | --- | --- |

| Reference | Requirements | Addressed | Comments / Observations |
| --- | --- | --- | --- |
| MRTS70 Cl. 11 | Concrete mix |  |  |
| MRTS70 Cl. 16.3.1 | Formwork and levels |  |  |
| MRTS71 Cl. 11 | Reinforcing steel |  |  |
| MRTS24 Cl. 6.3 | Cover to reinforcing steel |  |  |
| MRTS70 Cl. 16.3.2 | Bar chairs |  |  |
| Drawings | Position of lifting devices/dowel holes |  |  |
| MRTS70 Cl. 12 | Concrete delivery |  |  |
| MRTS70 Cl. 11 | Concrete testing |  |  |
| MRTS70 Cl. 16.5.2 | Concrete placement & vibration |  |  |
| MRTS70 Cl. 16.6 | Finishing |  |  |
| MRTS24 Cl. 14.1 | Marking & identification of product |  |  |
| MRTS70 Cl. 16.7.4 | Steam curing |  |  |
| MRTS24 Cl. 13.8 | Water/membrane curing |  |  |
| MRTS24 Cl. 13.6 | Lifting |  |  |
| MRTS24 Cl. 13.9 | Surface finish |  |  |
| MRTS24 Cl. 13.10 AS 1597.1, .2 | Dimensional check of product |  |  |
| Drawings | Cover to reinforcement - test |  |  |
| MRTS24 Cl. 14.4 | Stacking and storage |  |  |
| MRTS24 Cl. 15.2 | Load testing |  |  |
| MRTS70 Cl. 12.3 | Cylinder results |  |  |
| MRTS70 Cl. 16.8 | Were repairs carried out satisfactorily? |  |  |
| MRTS24 Cl. 14 | Loading and transport |  |  |

Delete below section if not required

| Audited by: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date |  |