Checklist – CAC060M
Steel-Reinforced Concrete Pipes: Manufacture and Install – MRTS03, MRTS04, MRTS25

| Contractor |  | Date |  | Lot/Culvert No. |  |
| --- | --- | --- | --- | --- | --- |
| Contract No. |  | Project No. |  | Project Name |  |
| Pipe Diameter |  | Pipe Class |  | Joint Type |  |
| Support Condition |  |  |  |  |  |

| Reference | Requirements | Addressed | Comments / Observations |
| --- | --- | --- | --- |
| MRTS25 Clause 10 (a, b) Clause 5 | - Drawing or tabulation of dimensions and masses HP1 Is the design internal diameter much lower than the nominal diameter? If yes, then check waterway area and if necessary contact hydraulic designer. |  |  |
| MRTS25 Clause 8 | WP1 Are pipes non-standard? If yes, then testing shall be witnessed. |  |  |
| MRTS25 Clause 10 (c – g) | HP2 - Supplier registration certificate - Mix design approval certificate - Method for addressing aggressive environments |  |  |
| MRTS25 Clauses 7.6, 11 AS/NZS 4058 Clauses 1.5, 3.4 | Visual inspection (pre-install) - Cracks - Spalls - Marking |  |  |
| MRTS25 Clause 11 | On delivery: - Statement of conformity |  |  |
| MRTS03 Clause 11.3 | HP3 Construction procedures: - Earthworks - Lifting and installation - Backfilling and compaction Confirm compaction plan aligns with pipe load design. |  |  |
| MRTS03 Clause 11.3.5 | Pre-compaction CCTV (may be waived by Administrator if visual inspection completed) |  |  |
| MRTS04 Clause 19 | WP9 - Materials - Compaction (Cl 15.3b) |  |  |
| MRTS03 Clause 11.3.5 | HP4 Post-backfill CCTV |  |  |

Delete below section if not required

| Audited by: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date |  |