Checklist – CAC087M
MRTS272 Shotcrete for Aboveground Applications incorporating MRTS70 Concrete and MRTS71 Reinforcing Steel

Note: This checklist is a summary only of the required quality assurance documentation, Administrator approvals and key inspection points. By itself, it does not ensure that all requirements of the Technical Specification are met.

| Contractor |  | Date |  | Contract no. |  |
| --- | --- | --- | --- | --- | --- |
| Project no. |  | Project name |  |  |  |
| Lot ref. |  | Lot description |  |  |  |

| Reference | Documentation / Inspection | Addressed | Comments / Observations |
| --- | --- | --- | --- |
| MRTS272 Clause 7 | Hold Point 1 - Construction procedures - Mix design (five weeks) - Work Method Statement |  |  |
| MRTS70 Clause 15.1 Clause 9.2 | Hold Point 1 - Mix design - Mix design - Test results - Strength - Chloride content - Aggregates |  |  |
| MRTS272 Clause 9 | Witness Point 1 and 2 - Shotcrete trial - Procedures - Sampling (extra if using fibres) - Visual examination of cores |  |  |
| MRTS272 Clause 9.2 | Hold Point 2 - Trial results - NATA-endorsed test reports |  |  |
| MRTS71 Clause 4.2 | Hold Point 1 - Supply of reinforcement - Transport and Main Roads registration certificate |  |  |
| MRTS71 Clauses 5, 6 | Steel reinforcement - Delivery dockets / bundle tags - Visual inspection - surface condition - storage - shape / size Hold Points 2, 4, 6, 7, 8, 9 Special cases - Splices - Electrical conductivity - Welding - Stainless |  |  |
| MRTS70 Clause 15.6.1 MRTS71 Clause 7 | Hold Point 5 (MRTS70) - Pre-pour inspection - Visual inspection - reinforcement position - cover / spacers - no foreign material - surface preparation |  |  |
| MRTS70 Clause 15.6 Clause 11 | Concrete delivery - Delivery docket (approved mix) - Field sheet - slump / spread result - batch / arrival times - concrete temperature - ambient conditions - Visual inspection - no surprises |  |  |
| MRTS70 Clause 15.6 MRTS272 Clause 14 | Placement and compaction - Visual inspection - concrete - placement - evaporation retardation - curing - no sagging |  |  |
| MRTS70 Clause 15 | Post-pour Inspection - Visual inspection - surface finish - dimensions |  |  |
| MRTS70 Clause 12 | Material Data Record - Concrete strength report (NATA-endorsed) - Concrete strength summary and comparison (cylinders vs cores) |  |  |

Additional items for consideration

Delete below section if not required

| Audited by: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Name |  | Signature |  | Date |  |