## POWER
Table 1. Power Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Far North
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 400/32A/40
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PWRSOL-0001
| SUBURB | CARSELDINE
| ROAD NAME | BEAMS ROAD
| SITE_ID | M3237
| ASSET NUMBER ONSITE | STN1
| ROAR ASSET TYPE | PWRSOL - Solar Panel
| LATITUDE OF ASSET | -16.9781
| LONGITUDE OF ASSET | 145.5323
| MOUNTING HEIGHT (m) | 10.5
| PLAN OR DRAWING NUMBERS | 825748
| PARENT ENCLOSURE ID | SWB124500
| MOUNTING STRUCTURE ID | POLE1244510
| LOAD RATING (kVA) | N/A
| NUMBER OF SOLAR PANELS | 2
| SOLAR PANEL WATTAGE (W) | 275
| SOLAR PANEL SIZE (m) | 1.7 x 1
| NUMBER OF BATTERIES | N/A
| BATTERY TYPE | N/A
| BATTERY RATING (Ah) | N/A
| DESIGN VERIFIED BY | Jane Citizen 12346
| DESIGN VERIFIED DATE | 42130
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PWRSOL-0001
| INSTALLATION DATE | 42130
| INSTALLED BY | Jane Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2021-05-21
| COMMISSIONED BY | Jane Citizen
| ASSET INSTALLATION COST | 600
| COMMENTS | 06/05/2018 Asset handed to TMR from council
| MANUFACTURER NAME | Suntech
| MODEL | STP275
| SUPPLIER NAME | Suntech
| SERIAL NUMBER | 1245378310
| ASSET PURCHASE COST | 600
| DATE RECEIVED | 42130
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PWRSOL-0001
| ASSET_ID | PWRSOL456789
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 2021-05-21
| MAINTENANCE INTERVAL (MONTHS) | 12

## NETWORKING
Table 2. Networking Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Far North
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | M1
| PROJECT NUMBER | 200/U19/20
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-NETFWD-0001
| SUBURB | CAIRNS
| ROAD NAME | Bruce Highway
| SITE_ID | MC1A0_M1
| ASSET NUMBER ONSITE | P1245122
| ROAR ASSET TYPE | NETFWD - Fixed Wireless Device
| LATITUDE OF ASSET | -27.7914
| LONGITUDE OF ASSET | 153.016
| MOUNTING HEIGHT (m) | 10.5
| PLAN OR DRAWING NUMBERS | 810174 - 810176
| PARENT ENCLOSURE ID | TSC186718
| POINT OF SUPPLY | U785412
| MOUNTING STRUCTURE ID | POLE111230
| CHANNEL FREQUENCY (MHz) | 20
| CHANNEL SIZE (MHz) | 1050
| RECEIVER (RX) POWER (dBm) | 20
| TRANSMIT (TX) POWER (dBm) | 20
| MAX DATA RATE AGGREGATE (Mbps) | 130
| ANTENNA TYPE | Patch
| NETWORK SERVER TYPE | N/A
| POWER CONSUMPTION (W) | 300
| DESIGN VERIFIED BY | John Citizen 15911
| DESIGN VERIFIED DATE | 2021-05-20
| ACMA LICENSE | Unlicensed
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-NETFWD-0001
| INSTALLATION DATE | 44249
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2022-05-21
| COMMISSIONED BY | John Citizen
| NETWORK | FLIR
| IP ADDRESS | 10.255.99.99
| ASSET INSTALLATION COST | 600
| SOFTWARE VERSION | 12.1
| FIRMWARE VERSION | 1577.874
| COMMENTS | 20/4/21 Climatic environment restricted access
| MANUFACTURER NAME | Cambium Networks
| MODEL | PMP 450 AP
| SUPPLIER NAME | Cambium Networks
| SERIAL NUMBER | M9WC0D69NTWN
| ASSET PURCHASE COST | 800
| DATE RECEIVED | 40452
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-POWSOL-0001
| ASSET_ID | NETFWD436779
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## CABLING
Table 3. Cabling and Containment Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
No BIM attribute data has been applied to cabling and containment assets.

## ENCLOSURES
Table 4. Enclosure Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 200/U18B/1
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENCTSC-0001
| SUBURB | Fortitude Valley
| ROAD NAME | Gympie Road
| SITE_ID | 10A-4584
| ASSET NUMBER ONSITE | M1993
| ROAR ASSET TYPE | ENCTSC - Traffic Signal Controller Enclosure
| LATITUDE OF ASSET | -27.4076
| LONGITUDE OF ASSET | 152.9955
| MOUNTING HEIGHT (m) | 0
PARENT ENCLOSURE ID
| PLAN OR DRAWING NUMBERS | 815912 C & 815913 C
| POINT OF SUPPLY | U1234560
| MOUNTING STRUCTURE ID | N/A
| IP RATING | IP65
| IK RATING | IK08
| DESIGN VERIFIED BY | Jane Bloggs 18566
| DESIGN VERIFIED DATE | 2020-07-01
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENCTSC-0001
| INSTALLATION DATE | 2021-01-27
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| MEASURED RUNNING LOAD (A) | 80
| MEASURED RUNNING LOAD DATE | 2021-05-19
| COMMISSIONING DATE | 2021-05-19
| COMMISSIONED BY | Jane Citizen
| CYBERLOCKED | Yes
| ELECTRICITY DISTRIBUTOR | Energex
| ELECTRICITY RETAILER | CS Energy
| TARIFF | 91
| NATIONAL METERING IDENTIFIER | 9876541234
| ASSET INSTALLATION COST | 2500
| COMMENTS | 19/5/21 PVI undertaken as part of installs
| MANUFACTURER NAME | KVM
| MODEL | TC416-QTMR
| SUPPLIER NAME | KVM
| SERIAL NUMBER | ATC-2008-4939
| ASSET PURCHASE COST | 2500
| DATE RECEIVED | 2020-07-28
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENCTSC-0001
| ASSET_ID | ENCTSC446697
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 36
| MAINTENANCE INTERVAL (MONTHS) | 12

## PROCESSORS
Table 5. Processor Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | M3
| PROJECT NUMBER | 200/U13C/20
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PROFPR-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| ASSET NUMBER ONSITE | MGN554FP01
| ROAR ASSET TYPE | PROFPR - Field Processor
| LATITUDE OF ASSET | -15.7628
| LONGITUDE OF ASSET | 145.4484
| PLAN OR DRAWING NUMBERS | 134562 - 134565
| PARENT ENCLOSURE ID | ITSC188441
| POINT OF SUPPLY | P214475
| POWER CONSUMPTION (W) | 300
| DESIGN VERIFIED BY | Jane Citizen 12346
| DESIGN VERIFIED DATE | 2014-08-05
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PROFPR-0001
| INSTALLATION DATE | 2014-08-05
| INSTALLED BY | Jane Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2014-08-05
| COMMISSIONED BY | Jane Citizen
| ASSET INSTALLATION COST | 1500
| FIRMWARE VERSION | 87546.1154
| SOFTWARE VERSION | 87.221
| IP ADDRESS | 192.158.1.38
| COMMENTS | 20/5/19 Access to asset restricted
| MANUFACTURER NAME | Transmax
| MODEL | IT.08
| SUPPLIER NAME | Transmax
| SERIAL NUMBER | 32198794
| ASSET PURCHASE COST | 1699
| HARDWARE PLATFORM | Windows
KEYBOARD DISPLAY UNIT
| DATE RECEIVED | 2014-07-05
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-PROFPR-0001
| ASSET_ID | PROFPR189046
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## MOUNTING STRUCTURES
Table 6. Mounting Structure Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 201/U27/1
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-MTSPOL-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| ASSET NUMBER ONSITE | W665776
| ROAR ASSET TYPE | MTSPOL - Pole
| LATITUDE OF ASSET | -27.4519
| LONGITUDE OF ASSET | 153.1146
| REDUCED LEVEL IN AHD (m) | -0.372
| PLAN OR DRAWING NUMBERS | 544957
| SD1699 POLE OR POST PART NO. | 230
| SD1699 POLE OR POST PART NO. DESCRIPTION | Pole, 7.0m, SBM
| SD1699 OUTREACH NO. | 225
| SD1699 OUTREACH NO. DESCRIPTION | Outreach, road lighting, 1.5m, single
| MOUNTING ARRANGEMENT | Slip Base
| POLE OR POST TYPE | Round
| POLE OR POST MATERIAL | Galvanised Steel
| POLE OR POST HEIGHT (m) | 7
| OUTREACH OR BRKT ARRANGEMENT | 1.5m Single
| DESIGN VERIFIED BY | John Citizen 15911
| DESIGN VERIFIED DATE | 2010-03-20
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-MTSPOL-0001
| INSTALLATION DATE | 2010-05-20
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| TRAFFIC FINIAL BARRIER | N/A
ASSET INSTALLATION COST
| COMMENTS | 20/5/10 Climatic environment restricted access
| MANUFACTURER NAME | GM Poles
| MODEL | SP-12
| SUPPLIER NAME | GM Poles
| SERIAL NUMBER | 567890123
ASSET PURCHASE COST
| DATE RECEIVED | 2010-04-20
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-MTSPOL-0001
| ASSET_ID | MTSPOL003379
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 120
| MAINTENANCE INTERVAL (MONTHS) | 12

## LUMINAIRES
Table 7. Luminaire Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 100/C060/10
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LMRLED-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| POLE NUMBER ONSITE | W1341474
SLOT NUMBER
| ENERGY SUPPLIER DESCRIPTION | L0169
| ROAR ASSET TYPE | LMRLED - Light Emitting Diode
| LATITUDE OF ASSET | -27.5061
| LONGITUDE OF ASSET | 152.9634
| MOUNTING HEIGHT (m) | 9
| PLAN OR DRAWING NUMBERS | 356880
| SWITCHBOARD ID | SWB152614
| POINT OF SUPPLY | P2250023
| MOUNTING STRUCTURE ID | POLE425119
POLE ID
| AS 1158 DESIGN CATEGORY | Roadway (AS 1158.1.1)
| LUMINAIRE CHAMBER TYPE | Semi Cut Off
| POWER CONSUMPTION (W) | 17
| DESIGN VERIFIED BY | John Citizen 15911
| DESIGN VERIFIED DATE | 2010-05-20
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LMRLED-0001
| INSTALLATION DATE | 2010-08-20
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2010-08-20
| COMMISSIONED BY | John Citizen
| GLARE TREATMENT | No Glare Treatment
| ELECTRICITY DISTRIBUTOR | Energex
| ELECTRICITY RETAILER | AGL
| RATE | Rate 3
| TARIFF | 71
| NATIONAL METERING IDENTIFIER | 31950000212
| SLC INSTALLED | Yes
| ACTUAL ACCEPTANCE DATE | 2010-04-20
| SLC INSTALL DATE | 2010-05-20
| SLC ASSET ID | LEDSLC001127
| SLC MANUFACTURER | CIMCON
| SLC IMEI | 654987321654987
| SLC MODEL | iSLC3100-7P-N
| SLC WARRANTY PERIOD (MONTHS) | 60
| SLC COMMISSIONING DATE | 2010-05-20
| SLC LATITUDE | -27.5061
| SLC LONGITUDE | 152.9634
| SLC OPERATIONAL STATUS | Commissioned
ASSET INSTALLATION COST
| COMMENTS | 20/5/10 Access to asset restricted
| MANUFACTURER NAME | Gerard Lighting Sylvania
| MODEL | StreetLED 3 17W
| SUPPLIER NAME | GERARD
| SERIAL NUMBER | PA46132798
ASSET PURCHASE COST
| DATE RECEIVED | 2010-07-20
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LMRLED-0001
| ASSET_ID | LMRLED425120
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 60
| MAINTENANCE INTERVAL (MONTHS) | 12

## DYNAMIC SIGNS
Table 8. Dynamic Sign Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2019
| ROAD ID | MC1A0
| PROJECT NUMBER | 400/U18A/40
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DYNVSL-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| ASSET NUMBER ONSITE | MWF308VSL02S-ON
| ROAR ASSET TYPE | DYNVSL - Variable Speed Limit Sign
| LATITUDE OF ASSET | -27.504
| LONGITUDE OF ASSET | 152.9635
| MOUNTING HEIGHT (m) | 4.1
| PLAN OR DRAWING NUMBERS | 629700 - 629710
| PARENT ENCLOSURE ID | SWB874231
| POINT OF SUPPLY | P123454
| MOUNTING STRUCTURE ID | PST051112
| RAMP INFORMATION SIGN TYPE | N/A
| DYNAMIC SIGN SIZE CATEGORY | Size C
| DYNAMIC SIGN SIZE (m) | 0.9 x 1.2
| DYNAMIC SIGN PIXEL DISPLAY | Size C RW
| POWER CONSUMPTION (W) | 10
| DESIGN VERIFIED BY | Jane Citizen 12346
| DESIGN VERIFIED DATE | 2015-06-16
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DYNVSL-0001
| INSTALLATION DATE | 2015-09-15
| INSTALLED BY | Jane Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2015-09-15
| COMMISSIONED BY | Jane Citizen
| LOCATION MARKER SIGN | WF 308 SV
ASSET INSTALLATION COST
| COMMENTS | 24/07/18 Graffiti removed from sign face
| MANUFACTURER NAME | J1-LED
| MODEL | JT-D-0015-360
| SUPPLIER NAME | J1-LED
| SERIAL NUMBER | 2017-09-409
ASSET PURCHASE COST
| DATE RECEIVED | 2015-07-20
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DYNVSL-0001
| ASSET_ID | DYNVSL182097
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## CAMERAS
Table 9. Camera Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 100/120/10
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-CAMPTZ-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| ASSET NUMBER ONSITE | Abbott 01
| ROAR ASSET TYPE | CAMPTZ - Pan Tilt and Zoom Camera
| LATITUDE OF ASSET | -19.3173
| LONGITUDE OF ASSET | 146.8248
| MOUNTING HEIGHT (m) | 10.5
| PLAN OR DRAWING NUMBERS | 67890 - 67895
| PARENT ENCLOSURE ID | ITSC1245235
| POINT OF SUPPLY | SP6789012
| MOUNTING STRUCTURE ID | POLE452635
| POWER CONSUMPTION (W) | 10
| DESIGN VERIFIED BY | John Citizen 15911
| DESIGN VERIFIED DATE | 2010-04-20
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-CAMPTZ-0001
| INSTALLATION DATE | 2010-05-20
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2010-05-20
| COMMISSIONED BY | John Citizen
| NETWORK | FLIR
| IP ADDRESS | 10.255.99.99
ASSET INSTALLATION COST
WEB VIDEO URL
| COMMENTS | 20/5/10 Access to asset restricted
| MANUFACTURER NAME | PELCO
| MODEL | Pelco ES6320
| SUPPLIER NAME | PELCO
| SERIAL NUMBER | 123456789
ASSET PURCHASE COST
| DATE RECEIVED | 2010-04-20
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-CAMPTZ-0001
| ASSET_ID | CAMPTZ175897
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## DETECTORS
Table 10. Detector Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 201/U12A/100
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DETLDV-0001
| SUBURB | Carseldine
| ROAD NAME | Gympie Road
| SITE_ID | GRC545
| ASSET NUMBER ONSITE | M2172/CL10
| ROAR ASSET TYPE | DETLDV - Loop Detector for Vehicles
| LATITUDE OF ASSET | -27.3897
| LONGITUDE OF ASSET | 152.9852
| MOUNTING HEIGHT (m) | 0
| PLAN OR DRAWING NUMBERS | 535436
| PARENT ENCLOSURE ID | ITSC096335
| POINT OF SUPPLY | U151245
| MOUNTING STRUCTURE ID | N/A
| POWER CONSUMPTION (W) | 10
| DESIGN VERIFIED BY | John Citizen 15911
| DESIGN VERIFIED DATE | 2018-09-07
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DETLDV-0001
| INSTALLATION DATE | 2018-09-07
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2018-09-07
| COMMISSIONED BY | John Citizen
| DETECTOR IMEI | N/A
| MODEM IP ADDRESS | N/A
| GATEWAY IP ADDRESS | N/A
| SUBNET IP ADDRESS | N/A
| AUDIO TACTILE | N/A
ASSET INSTALLATION COST
| COMMENTS | 07/09/18 Access to asset restricted
| MANUFACTURER NAME | Nortech International
| MODEL | Excel Technology Co XL1000 W
| SUPPLIER NAME | Nortech International Pty Ltd
| SERIAL NUMBER | 451234578
ASSET PURCHASE COST
| DATE RECEIVED | 2018-05-08
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-DETLDV-0001
| ASSET_ID | DETLDV044900
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## ENVIRONMENTAL
Table 11. Environmental Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Wide Bay Burnett
| ASSET OWNER | TMR
| DATUM | GDA94
| COORDINATE YEAR | 2020
| ROAD ID | MC1A0
| PROJECT NUMBER | 400/914/40
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENVPTS-0001
| SUBURB | Bundaberg North
| ROAD NAME | Hinkler Avenua
| SITE_ID | HABN746
| ASSET NUMBER ONSITE | FM014
| ROAR ASSET TYPE | ENVPTS - Pressure Transducer Sensor
| LATITUDE OF ASSET | -26.2596
| LONGITUDE OF ASSET | 152.7047
| MOUNTING HEIGHT (m) | 8
| PLAN OR DRAWING NUMBERS | 211245
| PARENT ENCLOSURE ID | ITSC258741
| POINT OF SUPPLY | P951357
| MOUNTING STRUCTURE ID | MTSPOL423651
| BATTERY VOLTAGE (V) | 13.4
| SYSTEM PLATFORM | Flood Monitor Australia
| IP RATING | IP65
| POWER CONSUMPTION (W) | 5
| DESIGN VERIFIED BY | Jane Citizen 12346
| DESIGN VERIFIED DATE | 2020-04-03
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENVPTS-0001
| INSTALLATION DATE | 2020-09-08
| INSTALLED BY | Jane Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2020-09-08
| COMMISSIONED BY | Jane Citizen
| BACKUP BATTERY | Yes
| IP ADDRESS | 122.142.04.01
ASSET INSTALLATION COST
| COMMENTS | 02/03/19 Access from bridge deck
| MANUFACTURER NAME | Campbell Scientific
| MODEL | CS451
| SUPPLIER NAME | Campbell Scientific
| SERIAL NUMBER | 221146317
ASSET PURCHASE COST
| DATE RECEIVED | 2020-07-07
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-ENVPTS-0001
| ASSET_ID | ENVPTS985321
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## LANTERNS
Table 12. Lantern Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 140/U21/22
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LANVRA-0001
| ROAD NAME | IPSWICH ROAD
| SUBURB | Moorooka
| SITE_ID | IRM547
| ASSET NUMBER ONSITE | BCC-13
| ROAR ASSET TYPE | LANVRA - Vehicle Roundel Aspect
| LATITUDE OF ASSET | -27.5071
| LONGITUDE OF ASSET | 152.9494
| MOUNTING HEIGHT (m) | 4.1
| PLAN OR DRAWING NUMBERS | 455796 - 455898
STATION NUMBER
SIGNAL GROUP NUMBER
| PARENT ENCLOSURE ID | TSC047372
| POINT OF SUPPLY | P70174
| MOUNTING STRUCTURE ID | MTSPST112222
| ALDRIDGE TRAFFIC SYSTEMS MODEL | RA563 - 3 x 200mm Roundel Aspect Red/Yellow/Green
| POWER CONSUMPTION (W) | 8.3
| DESIGN VERIFIED BY | Frank Citizen 12000
| DESIGN VERIFIED DATE | 2009-07-05
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LANVRA-0001
| INSTALLATION DATE | 2010-10-01
| INSTALLED BY | Joe Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2010-10-06
| COMMISSIONED BY | Jane Citizen
| ASSET INSTALLATION COST | 1904-12-04
| COMMENTS | 20/5/10 Climatic environment restricted access
| MANUFACTURER NAME | Aldridge Traffic Systems
| SUPPLIER NAME | Aldridge Traffic Systems
ASSET PURCHASE COST
| DATE RECEIVED | 2010-10-01
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-LANVRA-0001
| ASSET_ID | LANVRA180656
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| WARRANTY PERIOD (MONTHS) | 24
| MAINTENANCE INTERVAL (MONTHS) | 12

## COMMUNICATIONS
Table 13. Communication Assets
IFC Property Set | ATTRIBUTE NAME | EXAMPLE
Project Level | DISTRICT | Metropolitan
| ASSET OWNER | TMR
| DATUM | GDA2020
| COORDINATE YEAR | 2021
| ROAD ID | MC1A0
| PROJECT NUMBER | 200/10A/20
Design | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-COMPHP-0001
| SUBURB | CARSELDINE
| ROAD NAME | BEAMS ROAD
| ROAD ID | BRC254
| ASSET NUMBER ONSITE | HP106
| ROAR ASSET TYPE | COMPHP - Push-to-Talk Help Phone
| LATITUDE OF ASSET | -27.18
| LONGITUDE OF ASSET | 152.9844
| MOUNTING HEIGHT (m) | 1.2
| PLAN OR DRAWING NUMBERS | 62153
| PARENT ENCLOSURE ID | ENCITSxxxxxx
| POINT OF SUPPLY | U1526603
| MOUNTING STRUCTURE ID | MTSPSTxxxxxx
| IP RATING | IP65
| POWER CONSUMPTION (W) | 1
| DESIGN VERIFIED BY | John Citizen
| DESIGN VERIFIED DATE | 2010-05-20
| MODEL IS CERTIFIED ISSUED FOR CONSTRUCTION (RPEQ) | Jane Citizen - 12346
Construction | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-COMPHP-0001
| INSTALLATION DATE | 2010-05-20
| INSTALLED BY | John Citizen
| MODEL IS CERTIFIED AS-CONSTRUCTED (NAME + SURVEYORS ACCREDITATION) | Jane Citizen - Reg Surv 3322
| COMMISSIONING DATE | 2010-05-20
| COMMISSIONED BY | John Citizen
| IP ADDRESS | 10.255.99.99
| PABX NUMBER | 6106
| PUK CODE | 9856 4578
| PHONE NUMBER | 0417 066 734
ASSET INSTALLATION COST
| COMMENTS | 20/5/10 Climatic environment restricted access
| MANUFACTURER NAME | Clearsonics
| MODEL | Way Phone - Pedestal
| SUPPLIER NAME | Clearsonics
| SERIAL NUMBER | 321465987
ASSET PURCHASE COST
| DATE RECEIVED | 2010-04-20
Asset Management | UNIQUE OBJECT CODE | IPMWR2D-MC1A0-ITS-COMPHP-0001
| ASSET_ID | COMPHP154082
| WARRANTY PERIOD (MONTHS) | 24
| OPERATIONAL STATUS | PROPOSED
| OPERATIONAL DATE | 2020-04-20
| MAINTENANCE INTERVAL (MONTHS) | 12